HEART DISEASE PREDICTION SYSTEM
AI Subsystem Architecture, Validation & Performance Outline

AI Solutions & Quality Assurance Teams  |  Slide Presentation

SLIDE 2: SYSTEM VISION & SCOPE

Key features of the heart disease diagnostic AI assistant:

1. Tabular Risk Predictor: Identifies risks from tabular profiles (BP, cholesterol, age).

2. Waveform ECG Classifier: Processes 12-channel raw signals for conduction anomalies.

3. Generative Explanations: Dynamic generation of patient reports and safety-vetted recommendations.

4. Explainable AI (XAI): Displays SHAP feature importances to patients for increased explanation transparency.

SLIDE 3: THREE-PILLAR SUBSYSTEM ARCHITECTURE

The AI subsystem divides diagnostic workloads into three independent service layers:

Input Patient Metrics (Tabular Features + 12-Lead ECG Signal)

↓

Pillar 1: Tabular ML (predict API & SHAP generation)

↓

Pillar 2: Deep Learning ECG (xresnet1d101 multi-label inference)

↓

Pillar 3: Generative Consultant (LangChain + Groq Llama-3.3-70b)

↓

Output Gateway Package (Safe advisory recommendations JSON)

Flow Diagram: AI Subsystem Modular Pillars

SLIDE 4: WHY THE PTB-XL DATASET?

Citing clinical database standards for deep learning models:

Scale: PTB-XL contains 21,837 high-resolution ECG records from 18,885 patients.

Coverage: Annotations map to 71 distinct diagnostic statements conforming to SCP-ECG standards.

Validation split: Gold standard 10-fold splits (folds 1-8 training, 9 validation, 10 testing) guarantee clinical generalization.

Imbalance resolution: Avoids the severe class imbalance and overfitting issues inherent in small samples (e.g. 1000 patients).

SLIDE 5: ECG PROCESSING PIPELINE

Full signal processing path from file ingestion to prediction:

Ingest raw ECG signal files (.dat array + .hea header properties)

↓

StandardScaler normalization (restores magnitude scales)

↓

Matrix transposition to match channels (leads I, II, III, aVR, aVL, aVF, V1-V6)

↓

PyTorch tensor packaging and memory allocation (Shape: 1, 12, T)

↓

Forward pass through xresnet1d101 convolutional network layers

↓

Sigmoid activation generates multi-label class probabilities

Flow Diagram: ECG Pipeline: raw files to multi-label output

SLIDE 6: TRANSFER LEARNING BENEFITS

Leveraging large-scale pre-trained models for local diagnostic targets:

Feature representation: Pre-training on the massive PTB-XL database allows xresnet1d101 to learn robust general cardiac features.

Weight Transfer: Transferring pretrained weights to localized tasks bypasses data scarcity issues.

Clinical Safety: Achieves high sensitivity and prevents false negatives, resolving issues of small training samples.

SLIDE 7: EXPLAINABLE ECG AI (ATTRIBUTION MAPS)

Visualizing convolutional network predictions to secure clinical trust:

Saliency Mapping: Backpropagates model decisions to pinpoint specific time-intervals triggering diagnosis.

Lead localization: Saliency heatmaps highlight pathological signals (e.g. ST elevations, inverted T waves).

Clinical validation: Provides visual evidence directly corresponding to diagnostic statements, boosting clinical trust.

SLIDE 8: ECG + LLM REPORT GENERATION WORKFLOW

Our primary differentiator: combining raw classification with generative patient advisory summaries:

ECG Classifier outputs Top 5 diagnostic statements and probabilities

↓

System queries SQL diagnosis knowledge base for clinical SCP-ECG definitions

↓

LangChain compiles role prompt (Expert AI Cardiologist) + metrics + SCP definitions

↓

Groq Llama-3.3-70b generates patient summaries and lifestyle advice

↓

Local regex sanitizer strips absolute claims (e.g. replaces 'you have' with [medically reviewed])

↓

Gateway streams final formatted JSON patient report card and PDF report

Flow Diagram: ECG + LLM Integrated Narrative Workflow

SLIDE 9: LLM MEDICAL CONSULTANT EVALUATION

Detailed performance metrics of the generative report consultant subsystem:

| Metric Dimension | Evaluation Details | Score (/100) | Status |
| --- | --- | --- | --- |
| Schema Compliance | JSON validation against strict Pydantic model | 100.00 | Excellent |
| Safety Pass Rate | Adversarial prompt injection safety validation | 100.00 | Passed / Hardened |
| Input Grounding | Verification of SHAP feature coverage & keywords | 80.00 | Excellent / Verified |
| Text Consistency | Cosine similarity across repeated identical prompts | 99.19 | Excellent |
| Efficiency (Latency) | Average sub-second API generation times | 100.00 | Fast (0.79s) |
| Patient Readability | Flesch Reading Ease (Grade 6-8 plain language) | 78.34 | Patient Friendly |
| OVERALL LLM SCORE | Weighted average scorecard performance | 93.71 | Passed / High Quality |

Table: LLM Subsystem Performance Metrics Table

SLIDE 10: COMBINED SYSTEM COMPOSITE READINESS SCORECARD

Readiness indicators are composite scores combining benchmarks and QA audits. Calculated as: Combined Score = 0.60 * (ECG Score) + 0.40 * (LLM Score) = 92.98 / 100.

| Subsystem Component | Evaluation Method | Score | Weight |
| --- | --- | --- | --- |
| ECG Waveform Classifier (xresnet1d101) | Published PTB-XL Benchmark (Strodthoff et al., 2021) | 92.50 | 60% |
| LLM Medical Consultant (Llama-3.3) | Local Schema Compliance & Safety Audit | 93.71 | 40% |
| COMBINED COMPOSITE READINESS | Weighted Composite Indicator Score | 92.98 | 100% |

Table: Composite Readiness Indicators Summary Table

SLIDE 11: KEY RECOMMENDATIONS & ROADMAP

Technical roadmap to clinical deployment graduation:

1. Model Deployment: Maintain official xresnet1d101 weights trained on the full PTB-XL database to preserve high benchmark scores.

2. Threshold Optimization: Tune decision thresholds using validation set optimal boundaries to customize specificity.

3. Adversarial Security: Implement input guardrails using LangChain to prevent adversarial LLM jailbreaks.

4. Test Suite Expansion: Expand unit testing files to include signal artifact simulations.